## Checklist
Azure Checklist
Azure Landing Zone Review
Main Area | Sub Area | Checklist item | Description (optional) | Severity | Status | Comment | More info | Training | Graph Query | GUID | Secure | Cost | Scale | Simple | HA
Automation | ACSS | Azure Center for SAP solutions (ACSS) is an Azure offering that makes SAP a top-level workload on Azure. ACSS is an end-to-end solution that enables you to create and run SAP systems as a unified workload on Azure and provides a more seamless foundation for innovation. You can take advantage of the management capabilities for both new and existing Azure-based SAP systems. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/sap/center-sap-solutions/overview | https://learn.microsoft.com/training/modules/explore-azure-center-sap-solutions/?source=recommendations |  |  | 4620dc87-e948-4ce8-8426-f3e6e5d7bd85
Automation | SDAF | Azure supports automating SAP deployments in Linux and Windows. SAP Deployment Automation Framework is an open-source orchestration tool that can deploy, install, and maintain SAP environments. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-platform-automation-and-devops | https://github.com/Azure/sap-automation |  |  | 5d75e99d-624d-4afe-91d9-e17adc580790
Business Continuity and Disaster Recovery | Backup and restore | Perform a point-in-time recovery for your production databases at any point and in a time frame that meets your RTO; point-in-time recovery typically includes operator errors deleting data either on the DBMS layer or through SAP, incidentally |  | Medium | Not verified |  | https://learn.microsoft.com/azure/well-architected/sap/design-areas/data-platform |  |  |  | d17f6f39-a377-48a2-931f-5ead3ebe33a8
Business Continuity and Disaster Recovery | Disaster recovery | Test the backup and recovery times to verify that they meet your RTO requirements for restoring all systems simultaneously after a disaster. |  | Medium | Not verified | [5 empty] | c4b8e117-930b-4dbd-ae50-7bc5faf6f91a
Business Continuity and Disaster Recovery | Disaster recovery | You can replicate standard storage between paired regions, but you can't use standard storage to store your databases or virtual hard disks. You can replicate backups only between paired regions that you use. For all your other data, run your replication by using native DBMS features like SQL Server Always On or SAP HANA System Replication. Use a combination of Site Recovery, rsync or robocopy, and other third-party software for the SAP application layer. |  | High | Not verified |  | https://learn.microsoft.com/azure/reliability/cross-region-replication-azure | https://learn.microsoft.com/training/paths/ensure-business-continuity-implement-disaster-recovery/ |  |  | b651423c-8552-42db-a545-5cb50c05527a
Business Continuity and Disaster Recovery | Disaster recovery | When using Azure Availability Zones to achieve high availability, you must consider latency between SAP application servers and database servers. For zones with high latencies, operational procedures need to be in place to ensure that SAP application servers and database servers are running in the same zone at all times. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/high-availability-zones | https://learn.microsoft.com/training/modules/implement-high-availability-for-sap-workloads-azure/?source=recommendations |  |  | aa208dca-784f-46c6-9014-cc919c542dc9
Business Continuity and Disaster Recovery | Disaster recovery | Set up ExpressRoute connections from on-premises to the primary and secondary Azure disaster recovery regions. Also, as an alternative to using ExpressRoute, consider setting up VPN connections from on-premises to the primary and secondary Azure disaster recovery regions. |  | High | Not verified |  | https://learn.microsoft.com/azure/expressroute/designing-for-disaster-recovery-with-expressroute-privatepeering | https://learn.microsoft.com/azure/expressroute/use-s2s-vpn-as-backup-for-expressroute-privatepeering |  |  | ba07c007-1f90-43e9-aa4f-601346b80352
Business Continuity and Disaster Recovery | Disaster recovery | Replicate key vault contents like certificates, secrets, or keys across regions so you can decrypt data in the DR region. |  | Low | Not verified |  | https://learn.microsoft.com/azure/key-vault/general/disaster-recovery-guidance |  |  |  | d2b30195-b11d-4a8f-a672-28b2b4169a7c
Business Continuity and Disaster Recovery | Disaster recovery | Peer the primary and disaster recovery virtual networks. For example, for HANA System Replication, an SAP HANA DB virtual network needs to be peered to the disaster recovery site's SAP HANA DB virtual network. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/architecture/guide/sap/sap-s4hana |  |  |  | 05f1101d-250f-40e7-b2a1-b674ab50edbd
Business Continuity and Disaster Recovery | Disaster recovery | If you use Azure NetApp Files storage for your SAP deployments, at a minimum, create two Azure NetApp Files accounts in the Premium tier, in two regions. |  | Low | Not verified |  | https://learn.microsoft.com/azure/azure-netapp-files/azure-netapp-files-service-levels | https://learn.microsoft.com/training/modules/choose-service-level-azure-netapp-files-hpc-applications/2-identify-decision-criteria |  |  | d3351bf7-628a-46de-917d-dfc11d3b6b40
Business Continuity and Disaster Recovery | Disaster recovery | Native database replication technology should be used to synchronize the database in a HA pair. |  | High | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/disaster-recovery-sap-guide?tabs=windows | https://learn.microsoft.com/training/modules/implement-disaster-recovery-for-sap-workloads-azure/?source=recommendations |  |  | 726a1d3e-5508-4a06-9d54-93f4b50040c1
Business Continuity and Disaster Recovery | Disaster recovery | The CIDR for the primary virtual network (VNet) shouldn't conflict or overlap with the CIDR of the DR site's VNet |  | High | Not verified |  | https://learn.microsoft.com/ja-jp/azure/virtual-network/virtual-networks-faq | https://learn.microsoft.com/training/paths/azure-fundamentals-describe-azure-architecture-services/?source=recommendations |  |  | 6561f847-3db5-4ff8-9200-5ad3c3b436ad
Business Continuity and Disaster Recovery | Disaster recovery | Use Site Recovery to replicate an application server to a DR site. Site Recovery can also help with replicating central-services cluster VMs to the DR site. When you invoke DR, you'll need to reconfigure the Linux Pacemaker cluster on the DR site (for example, replace the VIP or SBD, run corosync.conf, and more). |  | High | Not verified |  |  | https://learn.microsoft.com/training/paths/ensure-business-continuity-implement-disaster-recovery/ |  |  | 0258ed30-fe42-434f-87b9-58f91f908e0a
Business Continuity and Disaster Recovery | High availability | Consider the availability of SAP software against single points of failure. This includes single points of failure within applications such as DBMSs utilized in SAP NetWeaver and SAP S/4HANA architectures, SAP ABAP and ASCS + SCS. Also, other tools such as SAP Web Dispatcher. |  | High | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-business-continuity-and-disaster-recovery | https://learn.microsoft.com/training/modules/implement-high-availability-for-sap-workloads-azure/2-explore-high-availability-disaster-recovery-support-azure-for-sap-workloads?source=recommendations |  |  | 8300cb30-766b-4084-b126-0dd8fb1269a1
Business Continuity and Disaster Recovery | High availability | For SAP and SAP databases, consider implementing automatic failover clusters. In Windows, Windows Server Failover Clustering supports failover. In Linux, Linux Pacemaker or third-party tools like SIOS Protection Suite and Veritas InfoScale support failover. |  | High | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/planning-supported-configurations | https://learn.microsoft.com/training/modules/implement-ha-sap-netweaver-anydb/?source=recommendations |  |  | 56402f11-ccbe-42c3-a2f6-c6f6f38ab579
Business Continuity and Disaster Recovery | High availability | Azure doesn't support architectures in which the primary and secondary VMs share storage for DBMS data. For the DBMS layer, the common architecture pattern is to replicate databases at the same time and with different storage stacks than the ones that the primary and secondary VMs use. |  | High | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/disaster-recovery-sap-guide?tabs=windows | https://learn.microsoft.com/training/paths/ensure-business-continuity-implement-disaster-recovery/?source=recommendationshttps%3A%2F%2Flearn.microsoft.com%2Fja-jp%2Ftraining%2Fpaths%2Fensure-business-continuity-implement-disaster-recovery%2F%3Fsource%3Drecommendations |  |  | afae6bec-2671-49ae-bc69-140b8ec8d320
Business Continuity and Disaster Recovery | High availability | The DBMS data and transaction/redo log files are stored in Azure supported block storage or Azure NetApp Files. Azure Files or Azure Premium Files isn't supported as storage for DBMS data and/or redo log files with SAP workload. |  | High | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/dbms-guide-general | https://learn.microsoft.com/training/modules/explore-azure-databases/2-explore-database-support-azure-for-sap-workloads |  |  | ac614e95-6767-4bc3-b8a4-9953533da6ba
Business Continuity and Disaster Recovery | High availability | You can use Azure shared disks in Windows for ASCS + SCS components and specific high-availability scenarios. Set up your failover clusters separately for SAP application layer components and the DBMS layer. Azure doesn't currently support high-availability architectures that combine SAP application layer components and the DBMS layer into one failover cluster. |  | High | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/sap-high-availability-guide-wsfc-shared-disk | https://learn.microsoft.com/training/modules/implement-ha-sap-netweaver-anydb/?source=recommendations |  |  | 1f737179-8e7f-4e1a-a30c-e5a649a3092b
Business Continuity and Disaster Recovery | High availability | Most failover clusters for SAP application layer components (ASCS) and the DBMS layer require a virtual IP address for a failover cluster. Azure Load Balancer should handle the virtual IP address for all other cases. One design principle is to use one load balancer per cluster configuration. We recommend that you use the standard version of the load balancer (Standard Load Balancer SKU). |  | High | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/high-availability-guide-standard-load-balancer-outbound-connections | https://learn.microsoft.com/training/modules/implement-high-availability-for-sap-workloads-azure/?source=recommendations |  |  | a78b3d31-3170-44f2-b5d7-651a29f4ccf5
Business Continuity and Disaster Recovery | High availability | Make sure the Floating IP is enabled on the Load balancer |  | High | Not verified |  | https://learn.microsoft.com/azure/load-balancer/load-balancer-ha-ports-overview?source=recommendations | https://learn.microsoft.com/training/modules/load-balancing-non-https-traffic-azure/?source=recommendations |  |  | 1a541741-5833-4fb4-ae3c-2df743165c3a
Business Continuity and Disaster Recovery | High availability | Before you deploy your high-availability infrastructure, and depending on the region you choose, determine whether to deploy with an Azure availability set or an availability zone. |  | High | Not verified |  | https://learn.microsoft.com/azure/virtual-machines/availability | https://learn.microsoft.com/training/modules/configure-virtual-machine-availability/?source=recommendations |  |  | c47cc4f3-f105-452c-845e-9b307b3856c1
Business Continuity and Disaster Recovery | High availability | If you want to meet the infrastructure SLAs for your applications for SAP components (central services, application servers, and databases), you must choose the same high availability options (VMs, availability sets, availability zones) for all components. |  | High | Not verified |  | https://www.microsoft.com/licensing/docs/view/Service-Level-Agreements-SLA-for-Online-Services?lang=1 |  |  |  | 844f69c3-07e5-4ec1-bff7-4be27bcf5fea
Business Continuity and Disaster Recovery | High availability | Do not mix servers of different roles in the same availability set. Keep central services VMs, database VMs, application VMs in their own availability sets |  | High | Not verified |  | https://learn.microsoft.com/azure/virtual-machines/availability-set-overview | https://learn.microsoft.com/training/modules/configure-virtual-machine-availability/?source=recommendations |  |  | cbe05bbe-209d-4490-ba47-778424d11678
Business Continuity and Disaster Recovery | High availability | You can't deploy Azure availability sets within an Azure availability zone unless you use proximity placement groups. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/virtual-machines/co-location | https://learn.microsoft.com/azure/sap/workloads/proximity-placement-scenarios |  |  | f2201000-d045-40a6-a79a-d7cdc01b4d86
Business Continuity and Disaster Recovery | High availability | When you create availability sets, use the maximum number of fault domains and update domains available. For example, if you deploy more than two VMs in one availability set, use the maximum number of fault domains (three) and enough update domains to limit the effect of potential physical hardware failures, network outages, or power interruptions, in addition to Azure planned maintenance. The default number of fault domains is two, and you can't change it online later. |  | High | Not verified |  | https://learn.microsoft.com/azure/virtual-machines/availability-set-overview | https://learn.microsoft.com/training/modules/configure-virtual-machine-availability/?source=recommendations |  |  | 9674e7c7-7796-4181-8920-09f4429543ba
Business Continuity and Disaster Recovery | High availability | When you use Azure proximity placement groups in an availability set deployment, all three SAP components (central services, application server, and database) should be in the same proximity placement group. |  | High | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/proximity-placement-scenarios |  |  |  | ae4ecb95-b70f-428f-8b9a-4c5b7e3478a2
Business Continuity and Disaster Recovery | High availability | Use one proximity placement group per SAP SID. Groups don't span across Availability Zones or Azure regions |  | High | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/proximity-placement-scenarios |  |  |  | 5d2fa56c-56ad-4484-88fe-72734c486ba2
Business Continuity and Disaster Recovery | High availability | Use one of the following services to run SAP central services clusters, depending on the operating system. |  | High | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-business-continuity-and-disaster-recovery | https://learn.microsoft.com/training/modules/implement-ha-sap-netweaver-anydb/?source=recommendations |  |  | bca3b10e-0ff5-4aec-ac16-4c4bd1a1c13f
Business Continuity and Disaster Recovery | High availability | Azure doesn't currently support combining ASCS and DB HA in the same Linux Pacemaker cluster; separate them into individual clusters. However, you can combine up to five multiple central-services clusters into a pair of VMs. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/high-availability-guide-suse-multi-sid | https://learn.microsoft.com/training/modules/implement-ha-sap-netweaver-anydb/?source=recommendations |  |  | ed46b937-913e-4018-9c62-8393ab037e53
Business Continuity and Disaster Recovery | High availability | Deploy both VMs in the high-availability pair in an availability set or in availability zones. These VMs should be the same size and have the same storage configuration. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-business-continuity-and-disaster-recovery |  |  |  | f656e745-0cfb-453e-8008-0528fa21c933
Business Continuity and Disaster Recovery | High availability | Azure supports installing and configuring SAP HANA and ASCS/SCS and ERS instances on the same high availability cluster running on Red Hat Enterprise Linux (RHEL). |  | Medium | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/high-availability-guide-rhel-with-hana-ascs-ers-dialog-instance | https://learn.microsoft.com/training/modules/implement-ha-sap-netweaver-anydb/?source=recommendations |  |  | 7f684ebc-95da-425e-b329-e782dbed050f
Business Continuity and Disaster Recovery | Storage | Run all production systems on Premium managed SSDs and use Azure NetApp Files or Ultra Disk Storage. At least the OS disk should be on the Premium tier so you can achieve better performance and the best SLA. |  | High | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/planning-guide-storage | https://learn.microsoft.com/training/modules/explore-azure-storage/?source=recommendations |  |  | 07991f7d-6598-4d90-9431-45c62605d3a5
Business Continuity and Disaster Recovery | Storage | You should run SAP HANA on Azure only on the types of storage that are certified by SAP. Note that certain volumes must be run on certain disk configurations, where applicable. These configurations include enabling Write Accelerator and using Premium storage. You also need to ensure that the file system that runs on storage is compatible with the DBMS that runs on the machine. |  | High | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/hana-vm-operations-storage | https://learn.microsoft.com/azure/sap/workloads/hana-vm-premium-ssd-v1?source=recommendations |  |  | 73cdaecc-7d74-48d8-a040-88416eebc98c
Business Continuity and Disaster Recovery | Storage | Consider configuring high availability depending on the type of storage you use for your SAP workloads. Some storage services available in Azure are not supported by Azure Site Recovery, so your high availability configuration may differ. |  | High | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/disaster-recovery-overview-guide#storage | https://learn.microsoft.com/training/modules/implement-disaster-recovery-for-sap-workloads-azure/2-explore-disaster-recovery-sap-workloads |  |  | 51904867-a70e-4fa0-b4ff-3e6292846d7c
Business Continuity and Disaster Recovery | Storage | Different native Azure storage services (like Azure Files, Azure NetApp Files, Azure Shared Disk) may not be available in all regions. So to have similar SAP setup on the DR region after failover, ensure the respective storage service is offered in DR site. |  | High | Not verified |  | https://azure.microsoft.com/ja-jp/explore/global-infrastructure/products-by-region/ |  |  |  | 1ac2d928-c9b7-42c6-ba18-23b1aea78693
Compute | &nbsp | Make quota requests for correct VM SKU and Zones |  | Medium | Not verified | [5 empty] | 2829e2ed-b217-4367-9aff-6691b4935ada
Cost Optimization | &nbsp | Automate SAP System Start-Stop to manage costs. |  | Medium | Not verified |  | https://techcommunity.microsoft.com/t5/running-sap-applications-on-the/optimize-your-azure-costs-by-automating-sap-system-start-stop/ba-p/2120675 |  |  |  | 925d1f8c-01f3-4a67-948e-aabf0a1fad60
Cost Optimization | &nbsp | In the case of using Azure Premium Storage with SAP HANA, Azure Standard SSD storage can be used to select a cost-conscious storage solution. However, please note that choosing Standard SSD or Standard HDD Azure storage will affect the SLA of the individual VMs. Also, for systems with lower I/O throughput and low latency, such as non-production environments, lower series VMs can be used. |  | Low | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/hana-vm-premium-ssd-v1 |  |  |  | 71dc00cd-4392-4262-8949-20c05e6c0333
Cost Optimization | &nbsp | As a lower-cost alternative configuration (multipurpose), you can choose a low-performance SKU for your non-production HANA database server VMs. However, it is important to note that some VM types, such as E-series, are not HANA certified (SAP HANA Hardware Directory) or cannot achieve storage latency of less than 1ms. |  | Low | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/hana-vm-premium-ssd-v1 |  |  |  | 9877f353-2591-4e8b-8381-e9043fed1010
Identity and Access | Identity | Enforce a RBAC model for management groups, subscriptions, resource groups and resources |  | High | Not verified |  | https://learn.microsoft.com/azure/well-architected/sap/design-areas/security | https://learn.microsoft.com/training/paths/implement-resource-mgmt-security/ |  |  | fda1dbf3-dc95-4d48-a7c7-91dca0f6c565
Identity and Access | Identity | Enforce Principal propagation for forwarding the identity from SAP cloud application to SAP on-premises (Including IaaS) through cloud connector |  | Medium | Not verified |  | https://learn.microsoft.com/azure/active-directory/fundamentals/scenario-azure-first-sap-identity-integration | https://learn.microsoft.com/training/modules/explore-identity-services/2-explore-azure-virtual-machine-auth-access-control |  |  | 45911475-e39e-4530-accc-d979366bcda2
Identity and Access | Identity | Implement SSO to SAP SaaS applications like SAP Analytics Cloud, SAP Cloud Platform, Business by design, SAP Qualtrics and SAP C4C with Azure AD using SAML. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/active-directory/fundamentals/scenario-azure-first-sap-identity-integration |  |  |  | 750ab1ab-039d-495d-94c7-c8929cb107d5
Identity and Access | Identity | Implement SSO to SAP NetWeaver-based web applications like SAP Fiori and SAP Web GUI by using SAML. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/active-directory/saas-apps/sap-netweaver-tutorial | https://learn.microsoft.com/training/modules/explore-identity-services/8-exercise-integrate-azure-active-directory-sap-netweaver |  |  | 325ae525-ba34-4d46-a5e2-213ace7bb122
Identity and Access | Identity | Implement SSO to SAP NetWeaver-based web applications like SAP Fiori and SAP Web GUI by using SAML. |  | Medium | Not verified |  |  | https://learn.microsoft.com/training/modules/explore-identity-services/6-exercise-integrate-azure-active-directory-sap-fiori |  |  | 9eb54dad-7861-4e1c-973a-f3bb003fc9c1
Identity and Access | Identity | You can implement SSO to SAP GUI by using SAP NetWeaver SSO or a partner solution. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/active-directory/saas-apps/sap-netweaver-tutorial | https://learn.microsoft.com/training/modules/explore-identity-services/8-exercise-integrate-azure-active-directory-sap-netweaver |  |  | f29676ef-0c9c-4c4d-ab21-a55504c0c829
Identity and Access | Identity | For SSO for SAP GUI and web browser access, implement SNC / Kerberos/SPNEGO (simple and protected GSSAPI negotiation mechanism) due to its ease of configuration and maintenance. For SSO with X.509 client certificates, consider the SAP Secure Login Server, which is a component of the SAP SSO solution. |  | Medium | Not verified |  |  | https://learn.microsoft.com/training/modules/explore-identity-services/9-exercise-integrate-active-directory-sap-single-sign-on |  |  | 23181aa4-1742-4694-9ff8-ae7d7d474317
Identity and Access | Identity | For SSO for SAP GUI and web browser access, implement SNC / Kerberos/SPNEGO (simple and protected GSSAPI negotiation mechanism) due to its ease of configuration and maintenance. For SSO with X.509 client certificates, consider the SAP Secure Login Server, which is a component of the SAP SSO solution. |  | Medium | Not verified |  | https://blogs.sap.com/2017/07/12/sap-single-sign-on-protect-your-sap-landscape-with-x.509-certificates/ |  |  |  | 6c8bcbf4-5bbe-4609-b8a0-3e97778424d6
Identity and Access | Identity | Implement SSO by using OAuth for SAP NetWeaver to allow third-party or custom applications to access SAP NetWeaver OData services. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/active-directory/saas-apps/sap-netweaver-tutorial#configure-sap-netweaver-for-oauth |  |  |  | 16785d6f-a96c-496a-b885-18f482734c88
Identity and Access | Identity | Implement SSO to SAP HANA |  | Medium | Not verified |  | https://learn.microsoft.com/azure/active-directory/saas-apps/saphana-tutorial |  |  |  | a747c350-8d4c-449c-93af-393dbca77c48
Identity and Access | Identity | Consider Azure AD an identity provider for SAP systems hosted on RISE. For more information, see Integrating the Service with Azure AD. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/rise-integration#connectivity-with-sap-rise |  |  |  | c7bae5bf-daf9-4761-9c56-f92891890aa4
Identity and Access | Identity | For applications that access SAP, you might want to use principal propagation to establish SSO. |  | Medium | Not verified |  | https://github.com/azuredevcollege/SAP/blob/master/sap-oauth-saml-flow/README.md |  |  |  | e4e48226-ce54-44b6-bb6b-bfa15bd8f753
Identity and Access | Identity | If you're using SAP BTP services or SaaS solutions that require SAP Identity Authentication Service (IAS), consider implementing SSO between SAP Cloud Identity Authentication Services and Azure AD to access those SAP services. This integration lets SAP IAS act as a proxy identity provider and forwards authentication requests to Azure AD as the central user store and identity provider. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/active-directory/saas-apps/sap-hana-cloud-platform-identity-authentication-tutorial |  |  |  | 59921095-4980-4fc1-a5b6-524a5a560c79
Identity and Access | Identity | Implement SSO to SAP BTP |  | Medium | Not verified |  | https://learn.microsoft.com/azure/active-directory/saas-apps/sap-hana-cloud-platform-tutorial |  |  |  | a709c664-317e-41e4-9e34-67d9016a86f4
Identity and Access | Identity | If you're using SAP SuccessFactors, consider using the Azure AD automated user provisioning. With this integration, as you add new employees to SAP SuccessFactors, you can automatically create their user accounts in Azure AD. Optionally, you can create user accounts in Microsoft 365 or other SaaS applications that are supported by Azure AD. Use write-back of the email address to SAP SuccessFactors. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/active-directory/saas-apps/sap-successfactors-inbound-provisioning-cloud-only-tutorial |  |  |  | 01f11b7f-38df-4251-9c76-4dec19abd3e8
Management Group and Subscriptions | Subscriptions | enforce existing Management Group policies to SAP Subscriptions |  | Medium | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/ready/landing-zone/design-area/resource-org-management-groups | https://learn.microsoft.com/training/modules/enterprise-scale-organization/4-management-group-subscription-organization |  |  | 6ba28021-4591-4147-9e39-e5309cccd979
Management Group and Subscriptions | Subscriptions | Integrate tightly coupled applications into the same SAP subscription to avoid additional routing and management complexity |  | High | Not verified |  | https://learn.microsoft.com/azure/architecture/guide/sap/sap-whole-landscape | https://learn.microsoft.com/azure/cloud-adoption-framework/ready/landing-zone/design-area/resource-org-subscriptions |  |  | 366bcda2-750a-4b1a-a039-d95d54c7c892
Management Group and Subscriptions | Subscriptions | Leverage Subscription as scale unit and scaling our resources, consider deploying subscription per environment eg. Sandbox, non-prod, prod |  | High | Not verified |  | https://learn.microsoft.com/azure/architecture/guide/sap/sap-whole-landscape | https://learn.microsoft.com/training/modules/configure-subscriptions/?source=recommendations |  |  | 9cb107d5-325a-4e52-9ba3-4d4685e2213a
Management Group and Subscriptions | Subscriptions | Ensure quota increase as a part of subscription provisioning (e.g. total available VM cores within a subscription) |  | High | Not verified |  | https://learn.microsoft.com/azure/quotas/quotas-overview | https://learn.microsoft.com/azure/azure-resource-manager/management/azure-subscription-service-limits |  |  | ce7bb122-f7c9-45f0-9e15-4e3aa3592829
Management Group and Subscriptions | Subscriptions | The Quota API is a REST API that you can use to view and manage quotas for Azure services. Consider using it if necessary. |  | Low | Not verified |  | https://learn.microsoft.com/rest/api/reserved-vm-instances/quotaapi?branch=capacity |  |  |  | ce4fab2f-433a-4d59-a5a9-3d1032e03ebc
Management Group and Subscriptions | Subscriptions | If deploying to an availability zone, ensure that the VM's zone deployment is available once the quota has been approved. Submit a support request with the subscription, VM series, number of CPUs and availability zone required. |  | High | Not verified |  | https://learn.microsoft.com/azure/quotas/quickstart-increase-quota-portal |  |  |  | cbfad17b-f240-42bf-a1d8-f4f4cee661c8
Management Group and Subscriptions | Subscriptions | Ensure required services and features are available within the chosen deployment regions eg. ANF , Zone etc. |  | High | Not verified |  | https://azure.microsoft.com/explore/global-infrastructure/products-by-region/ | https://learn.microsoft.com/azure/cloud-adoption-framework/migrate/azure-best-practices/multiple-regions?source=recommendations |  |  | e6e20617-3686-4af4-9791-f8935ada4332
Management Group and Subscriptions | Subscriptions | Leverage Azure resource tag for cost categorization and resource grouping (: BillTo, Department (or Business Unit), Environment (Production, Stage, Development), Tier (Web Tier, Application Tier), Application Owner, ProjectName) |  | Medium | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-resource-organization | https://learn.microsoft.com/training/paths/implement-resource-mgmt-security/ |  |  | 4e138115-2318-41aa-9174-26943ff8ae7d
Management and Monitoring | BCDR | Help protect your HANA database by using the Azure Backup service. |  | High | Not verified |  | https://learn.microsoft.com/azure/backup/sap-hana-database-about | https://learn.microsoft.com/training/modules/implement-azure-backup-sap-workloads-azure-virtual-machines/?source=recommendations |  |  | 2f7c95f0-6e15-44e3-aa35-92829e6e2061
Management and Monitoring | BCDR | If you deploy Azure NetApp Files for your HANA, Oracle, or DB2 database, use the Azure Application Consistent Snapshot tool (AzAcSnap) to take application-consistent snapshots. AzAcSnap also supports Oracle databases. Consider using AzAcSnap on a central VM rather than on individual VMs. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/azure-netapp-files/azacsnap-introduction |  |  |  | 302a2fbf-3745-4a5f-a365-c9d1a16ca22c
Management and Monitoring | Management | Ensure time-zone matches between the operating system and the SAP system. |  | High | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-management-and-monitoring |  |  |  | 42d37218-a3a7-45df-bff6-1173e7f249ea
Management and Monitoring | Management | Don't group different application services in the same cluster. For example, don't combine DRBD and central services clusters on the same cluster. However, you can use the same Pacemaker cluster to manage approximately five different central services (multi-SID cluster). |  | Medium | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/high-availability-guide-rhel-multi-sid | https://learn.microsoft.com/training/modules/implement-ha-sap-netweaver-anydb/?source=recommendations |  |  | c3c7abc0-716c-4486-893c-40e181d65539
Management and Monitoring | Management | Consider running dev/test systems in a snooze model to save and optimize Azure run costs. |  | Low | Not verified |  | https://azure.microsoft.com/pricing/offers/dev-test/ |  |  |  | a491dfc4-9353-4213-9217-eef0949f9467
Management and Monitoring | Management | If you partner with customers by managing their SAP estates, consider Azure Lighthouse. Azure Lighthouse allows managed service providers to use Azure native identity services to authenticate to the customers' environment. It puts the control in the hands of customers, because they can revoke access at any time and audit service providers' actions. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/lighthouse/overview |  |  |  | b7056168-6199-4732-a514-cdbb2d5c9c54
Management and Monitoring | Management | Use Azure Update Manager to check the status of available updates for a single VM or multiple VMs and consider scheduling regular patching. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/update-manager/scheduled-patching?tabs=schedule-updates-single-machine%2Cschedule-updates-scale-overview | https://learn.microsoft.com/training/modules/keep-your-virtual-machines-updated/?source=recommendations |  |  | 4d116785-d2fa-456c-96ad-48408fe72734
Management and Monitoring | Management | Optimize and manage SAP Basis operations by using SAP Landscape Management (LaMa). Use the SAP LaMa connector for Azure to relocate, copy, clone, and refresh SAP systems. |  | Low | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/lama-installation | https://learn.microsoft.com/training/modules/explore-azure-remote-management/?source=recommendations |  |  | 76c8bcbf-45bb-4e60-ad8a-03e97778424d
Management and Monitoring | Monitoring | Use Azure Monitor for SAP solutions to monitor your SAP workloads(SAP HANA, high-availability SUSE clusters, and SQL systems) on Azure. Consider supplementing Azure Monitor for SAP solutions with SAP Solution Manager. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/sap/monitor/about-azure-monitor-sap-solutions | https://learn.microsoft.com/training/modules/implement-azure-monitoring-sap-workloads-azure-virtual-machines/?source=recommendations |  |  | 14591147-5e39-4e53-89cc-cd979366bcda
Management and Monitoring | Monitoring | Run a VM Extension for SAP check. VM Extension for SAP uses the assigned managed identity of a virtual machine (VM) to access VM monitoring and configuration data. The check ensures that all performance metrics in your SAP application come from the underlying Azure Extension for SAP. |  | High | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/vm-extension-for-sap | https://learn.microsoft.com/training/modules/configure-azure-enhanced-monitoring-extension-for-sap/?source=recommendations |  |  | 2750ab1a-b039-4d95-b54c-7c8929cb107d
Management and Monitoring | Monitoring | Use Azure Policy for access control and compliance reporting. Azure Policy provides the ability to enforce organization-wide settings to ensure consistent policy adherence and fast violation detection. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/azure-monitor/logs/design-logs-deployment | https://learn.microsoft.com/learn/paths/architect-infrastructure-operations/ |  |  | 5325ae52-5ba3-44d4-985e-2213ace7bb12
Management and Monitoring | Monitoring | Use Connection Monitor in Azure Network Watcher to monitor latency metrics for SAP databases and application servers. Or collect and display network latency measurements by using Azure Monitor. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/network-watcher/connection-monitor-overview | https://techcommunity.microsoft.com/t5/running-sap-applications-on-the/collecting-and-displaying-niping-network-latency-measurements/ba-p/1833979 |  |  | 523181aa-4174-4269-93ff-8ae7d7d47431
Management and Monitoring | Monitoring | Perform a quality check for SAP HANA on the provisioned Azure infrastructure to verify that provisioned VMs comply with SAP HANA on Azure best practices. |  | Medium | Not verified |  | https://github.com/Azure/SAP-on-Azure-Scripts-and-Utilities/tree/main/QualityCheck |  |  |  | 73686af4-6791-4f89-95ad-a43324e13811
Management and Monitoring | Monitoring | For each Azure subscription, run a latency test on Azure availability zones before zonal deployment to choose low-latency zones for deployment of SAP on Azure. |  | High | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/high-availability-zones | https://github.com/Azure/SAP-on-Azure-Scripts-and-Utilities/tree/main/AvZone-Latency-Test |  |  | 616785d6-fa96-4c96-ad88-518f482734c8
Management and Monitoring | Monitoring | Run the Resiliency Report to ensure that the configuration of the entire provisioned Azure infrastructure (Compute, Database, Networking, Storage, Site Recovery) complies with the configuration defined by Cloud Adaption Framework for Azure. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/advisor/advisor-how-to-improve-reliability | https://learn.microsoft.com/training/paths/azure-well-architected-framework/ |  |  | 410adcba-db46-424f-a6c4-05ecde75c52e
Management and Monitoring | Monitoring | Implement threat protection by using the Microsoft Sentinel solution for SAP. Use this solution to monitor your SAP systems and detect sophisticated threats throughout the business logic and application layers. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/sentinel/sap/deployment-overview | https://learn.microsoft.com/training/modules/plan-microsoft-sentinel-deployment-sap/?source=recommendations |  |  | 86ba2802-1459-4114-95e3-9e5309cccd97
Management and Monitoring | Monitoring | Azure tagging can be leveraged to logically group and track resources, automate their deployments, and most importantly, provide visibility on the incurred costs. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/cost-management-billing/costs/enable-tag-inheritance | https://learn.microsoft.com/training/modules/analyze-costs-create-budgets-azure-cost-management/?source=recommendations |  |  | 579266bc-ca27-45fa-a1ab-fe9d55d04c3c
Management and Monitoring | Performance | Use inter-VM latency monitoring for latency-sensitive applications. |  | Low | Not verified |  | https://learn.microsoft.com/azure/virtual-network/virtual-network-test-latency?tabs=windows |  |  |  | 04b8e5e5-13cb-4b22-af62-5a8ecfcf0337
Management and Monitoring | Performance | Use Azure Site Recovery monitoring to maintain the health of the disaster recovery service for SAP application servers. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/planning-guide-storage | https://learn.microsoft.com/training/modules/explore-azure-storage/?source=recommendations |  |  | 07e5ed53-3d96-43d8-87ea-631b77da5aba
Management and Monitoring | Performance | Exclude all the database file systems and executable programs from antivirus scans. Including them could lead to performance problems. Check with the database vendors for prescriptive details on the exclusion list. For example, Oracle recommends excluding /oracle/<sid>/sapdata from antivirus scans. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-management-and-monitoring |  |  |  | abb6af9c-982c-4cf1-83fb-329fafd1ee56
Management and Monitoring | Performance | Consider collecting full database statistics for non-HANA databases after migration. For example, implement SAP note 1020260 - Delivery of Oracle statistics. |  | Low | Not verified |  | https://sapit-forme-prod.authentication.eu11.hana.ondemand.com/login |  |  |  | c027f893-f404-41a9-b33d-39d625a14964
Management and Monitoring | Performance | Consider using Oracle Automatic Storage Management (ASM) for all Oracle deployments that use SAP on Azure. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/virtual-machines/workloads/oracle/configure-oracle-asm | https://learn.microsoft.com/training/paths/administer-infrastructure-resources-in-azure/?source=recommendations |  |  | fdafb1f5-3eee-4354-a8c9-deb8127ebc2e
Management and Monitoring | Performance | For SAP on Azure running Oracle, a collection of SQL scripts can help you diagnose performance problems. Automatic Workload Repository (AWR) reports contain valuable information for diagnosing problems in the Oracle system. We recommend that you run an AWR report during several sessions and choose peak times for it, to ensure broad coverage for the analysis. |  | Medium | Not verified |  | https://techcommunity.microsoft.com/t5/running-sap-applications-on-the/announcement-sap-on-azure-oracle-performance-efficiency-scripts/ba-p/3725178 | https://learn.microsoft.com/ja-jp/azure/well-architected/oracle-iaas/performance-efficiency |  |  | 33c5d5bf-daf3-4f0d-bd50-6010fdcec22e
Management and Monitoring | Reliability | Use Azure Site Recovery monitoring to maintain the health of the disaster recovery service for SAP application servers. |  | High | Not verified |  | https://learn.microsoft.com/azure/site-recovery/site-recovery-monitor-and-troubleshoot | https://learn.microsoft.com/training/modules/protect-on-premises-infrastructure-with-azure-site-recovery/?source=recommendations |  |  | d89fd98d-23e4-4b40-a92e-32db9365522c
Network Topology and Connectivity | App delivery | For secure delivery of HTTP/S apps, use Application Gateway v2 and ensure that WAF protection and policies are enabled. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/ddos-protection/ddos-protection-overview | https://learn.microsoft.com/training/modules/introduction-azure-web-application-firewall/ |  |  | 5ba34d46-85e2-4213-ace7-bb122f7c95f0
Network Topology and Connectivity | DNS | If the virtual machine's DNS or virtual name is not changed during migration to Azure, Background DNS and virtual names connect many system interfaces in the SAP landscape, and customers are only sometimes aware of the interfaces that developers define over time. Connection challenges arise between various systems when virtual or DNS names change after migrations, and it's recommended to retain DNS aliases to prevent these types of difficulties. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-network-topology-and-connectivity | https://learn.microsoft.com/training/modules/explore-azure-networking/4-explore-name-resolution |  |  | fa9d30bc-1b82-4e4b-bfdf-6b017938b9e6
Network Topology and Connectivity | DNS | Use different DNS zones to distinguish each environment (sandbox, development, preproduction, and production) from each other. The exception is for SAP deployments with their own VNet; here, private DNS zones might not be necessary. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-network-topology-and-connectivity | https://learn.microsoft.com/training/modules/explore-azure-networking/4-explore-name-resolution |  |  | a2858f78-105b-4f52-b7a9-5b0f4439743b
Network Topology and Connectivity | Hybrid | Local and global VNet peering provide connectivity and are the preferred approaches to ensure connectivity between landing zones for SAP deployments across multiple Azure regions |  | Medium | Not verified |  | https://learn.microsoft.com/azure/virtual-network/virtual-network-peering-overview | https://learn.microsoft.com/training/modules/configure-vnet-peering/?source=recommendations |  |  | a3592829-e6e2-4061-9368-6af46791f893
Network Topology and Connectivity | Hybrid | It is not supported to deploy any NVA between SAP application and SAP Database server |  | High | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/planning-guide | https://me.sap.com/notes/2731110 |  |  | 41742694-3ff8-4ae7-b7d4-743176c8bcbf
Network Topology and Connectivity | Hybrid | Use Virtual WAN for Azure deployments in new, large, or global networks where you need global transit connectivity across Azure regions and on-premises locations. With this approach, you won't need to manually set up transitive routing for Azure networking, and you can follow a standard for SAP on Azure deployments. |  | Medium | Not verified |  | https://learn.microsoft.com/training/modules/introduction-azure-virtual-wan/?source=recommendations | https://learn.microsoft.com/azure/virtual-wan/virtual-wan-about |  |  | 7d4bc7d2-c34a-452e-8f1d-6ae3c8eafcc3
Network Topology and Connectivity | Hybrid | Consider deploying network virtual appliances (NVAs) between regions only if partner NVAs are used. NVAs between regions or VNets aren't required if native NVAs are present. When you're deploying partner networking technologies and NVAs, follow the vendor's guidance to verify conflicting configurations with Azure networking. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/well-architected/services/networking/network-virtual-appliances/reliability | https://learn.microsoft.com/training/modules/control-network-traffic-flow-with-routes/?source=recommendations |  |  | 0cedb1f6-ae6c-492b-8b17-8061f50b16d3
Network Topology and Connectivity | Hybrid | Virtual WAN manages connectivity between spoke VNets for virtual-WAN-based topologies (no need to set up user-defined routing [UDR] or NVAs), and maximum network throughput for VNet-to-VNet traffic in the same virtual hub is 50 gigabits per second. If necessary, SAP landing zones can use VNet peering to connect to other landing zones and overcome this bandwidth limitation. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/architecture/networking/hub-spoke-vwan-architecture | https://learn.microsoft.com/training/modules/hub-and-spoke-network-architecture/?source=recommendations |  |  | facc08c6-ea95-4641-91cd-fa09e573adbd
Network Topology and Connectivity | IP plan | Public IP assignment to VM running SAP Workload is not recommended. |  | High | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/ready/azure-best-practices/plan-for-ip-addressing | https://learn.microsoft.com/training/modules/design-ip-addressing-for-azure/?source=recommendations |  |  | 82734c88-6ba2-4802-8459-11475e39e530
Network Topology and Connectivity | IP plan | Consider reserving IP address on DR side when configuring ASR |  | High | Not verified |  | https://learn.microsoft.com/training/modules/protect-on-premises-infrastructure-with-azure-site-recovery/?source=recommendations | https://learn.microsoft.com/learn/paths/architect-network-infrastructure/ |  |  | 9cccd979-366b-4cda-8750-ab1ab039d95d
Network Topology and Connectivity | IP plan | Avoid using overlapping IP address ranges for production and DR sites. |  | High | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/ready/azure-best-practices/plan-for-ip-addressing | https://learn.microsoft.com/training/modules/design-ip-addressing-for-azure/?source=recommendations |  |  | 54c7c892-9cb1-407d-9325-ae525ba34d46
Network Topology and Connectivity | IP plan | While Azure does help you to create multiple delegated subnets in a VNet, only one delegated subnet can exist in a VNet for Azure NetApp Files. Attempts to create a new volume will fail if you use more than one delegated subnet for Azure NetApp Files. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/azure-netapp-files/azure-netapp-files-delegate-subnet | https://learn.microsoft.com/azure/azure-netapp-files/azure-netapp-files-network-topologies?source=recommendations |  |  | 6e154e3a-a359-4282-ae6e-206173686af4
Network Topology and Connectivity | Internet | Use Azure Firewall to govern Azure outbound traffic to the internet, non-HTTP/S inbound connections, and East/West traffic filtering (if the organization requires it) |  | Medium | Not verified |  | https://learn.microsoft.com/azure/well-architected/services/networking/azure-firewall?toc=%2Fazure%2Ffirewall%2Ftoc.json&bc=%2Fazure%2Ffirewall%2Fbreadcrumb%2Ftoc.json | https://learn.microsoft.com/training/paths/secure-networking-infrastructure/ |  |  | d8a03e97-7784-424d-9167-85d6fa96c96a
Network Topology and Connectivity | Internet | Application Gateway and Web Application Firewall have limitations when Application Gateway serves as a reverse proxy for SAP web apps, as shown in the comparison between Application Gateway, SAP Web Dispatcher, and other third-party services. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/expose-sap-process-orchestration-on-azure | https://help.sap.com/docs/SUPPORT_CONTENT/si/3362959506.html |  |  | 91a65e40-be90-45b3-9f73-f3edbf8dc324
Network Topology and Connectivity | Internet | Use Azure Front Door and WAF policies to provide global protection across Azure regions for inbound HTTP/S connections to a landing zone. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/web-application-firewall/ag/ag-overview | https://learn.microsoft.com/training/paths/secure-application-delivery/ |  |  | 5e39e530-9ccc-4d97-a366-bcda2750ab1a
Network Topology and Connectivity | Internet | Take advantage of Web Application Firewall policies in Azure Front Door when you're using Azure Front Door and Application Gateway to protect HTTP/S applications. Lock down Application Gateway to receive traffic only from Azure Front Door. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/web-application-firewall/afds/afds-overview | https://learn.microsoft.com/training/modules/introduction-azure-web-application-firewall/?source=recommendations |  |  | b039d95d-54c7-4c89-89cb-107d5325ae52
Network Topology and Connectivity | Internet | Use a web application firewall to scan your traffic when it's exposed to the internet. Another option is to use it with your load balancer or with resources that have built-in firewall capabilities like Application Gateway or third-party solutions. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/web-application-firewall/ag/ag-overview | https://learn.microsoft.com/training/modules/introduction-azure-web-application-firewall/?source=recommendations |  |  | 5ada4332-4e13-4811-9231-81aa41742694
Network Topology and Connectivity | Internet | Use Virtual WAN for Azure deployments in new, large, or global networks where you need global transit connectivity across Azure regions and on-premises locations. With this approach, you won't need to manually set up transitive routing for Azure networking, and you can follow a standard for SAP on Azure deployments. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/frontdoor/front-door-overview | https://learn.microsoft.com/training/modules/explore-azure-networking/10-explore-azure-front-door |  |  | e73de7d5-6f36-4217-a526-e1a621ecddde
Network Topology and Connectivity | Internet | To prevent data leakage, use Azure Private Link to securely access platform as a service resources like Azure Blob Storage, Azure Files, Azure Data Lake Storage Gen2, Azure Data Factory, and more. Azure Private Endpoint can also help to secure traffic between VNets and services like Azure Storage, Azure Backup, and more. Traffic between your VNet and the Private Endpoint enabled service travels across the Microsoft global network, which prevents its exposure to the public internet. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/virtual-network/vnet-integration-for-azure-services | https://learn.microsoft.com/training/modules/design-implement-private-access-to-azure-services/?source=recommendations |  |  | 3c536a3e-1b6b-4e87-95ca-15edb47251c0
Network Topology and Connectivity | Segmentation | Make sure that Azure accelerated networking is enabled on the VMs used in the SAP application and DBMS layers. |  | High | Not verified |  | https://learn.microsoft.com/azure/virtual-network/accelerated-networking-overview?tabs=redhat | https://learn.microsoft.com/training/paths/azure-fundamentals-describe-azure-architecture-services/?source=recommendations |  |  | 85e2213a-ce7b-4b12-8f7c-95f06e154e3a
Network Topology and Connectivity | Segmentation | Make sure that internal deployments for Azure Load Balancer are set up to use Direct Server Return (DSR). This setting will reduce latency when internal load balancer configurations are used for high-availability configurations on the DBMS layer. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/load-balancer/load-balancer-multivip-overview | https://learn.microsoft.com/ja-jp/training/modules/load-balancing-non-https-traffic-azure/?source=recommendations |  |  | 3ff8ae7d-7d47-4431-96c8-bcbf45bbe609
Network Topology and Connectivity | Segmentation | You can use application security group (ASG) and NSG rules to define network security access-control lists between the SAP application and DBMS layers. ASGs group virtual machines to help manage their security. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/virtual-network/network-security-group-how-it-works | https://learn.microsoft.com/training/modules/configure-network-security-groups/?source=recommendations |  |  | 6791f893-5ada-4433-84e1-3811523181aa
Network Topology and Connectivity | Segmentation | Placing of the SAP application layer and SAP DBMS in different Azure VNets that aren't peered isn't supported. |  | High | Not verified |  | https://me.sap.com/notes/2015553 | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-network-topology-and-connectivity |  |  | 45bbe609-d8a0-43e9-9778-424d616785d6
Network Topology and Connectivity | Segmentation | For optimal network latency with SAP applications, consider using Azure proximity placement groups. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/proximity-placement-scenarios | https://learn.microsoft.com/azure/virtual-machines/co-location#planned-maintenance-and-proximity-placement-groups |  |  | fa96c96a-d885-418f-9827-34c886ba2802
Network Topology and Connectivity | Segmentation | It is NOT supported at all to run an SAP Application Server layer and DBMS layer split between on-premise and Azure. Both layers need to completely reside either on-premise or in Azure. |  | High | Not verified |  | https://me.sap.com/notes/2015553 | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-network-topology-and-connectivity |  |  | 18c8b61c-855a-4405-b6ed-266455e4f4ce
Network Topology and Connectivity | Segmentation | It isn't recommended to host the database management system (DBMS) and application layers of SAP systems in different VNets and connect them with VNet peering because of the substantial costs that excessive network traffic between the layers can produce. Recommend using subnets within the Azure virtual network to separate the SAP application layer and DBMS layer. |  | High | Not verified |  | https://me.sap.com/notes/2015553 | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-network-topology-and-connectivity |  |  | b65c878b-4b14-4f4e-92d8-d873936493f2
Network Topology and Connectivity | Segmentation | If using Load Balancer with Linux guest operating systems, check that the Linux network parameter net.ipv4.tcp_timestamps is set to 0. |  | High | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/high-availability-guide-rhel | https://learn.microsoft.com/training/modules/implement-ha-sap-netweaver-anydb/?source=recommendations |  |  | 402a9846-d515-4061-aff8-cd30088693fa
Network Topology and Connectivity | Segmentation | For SAP RISE/ECS deployments, virtual peering is the preferred way to establish connectivity with customer's existing Azure environment. Both the SAP vnet and customer vnet(s) are protected with network security groups (NSG), enabling communication on SAP and database ports through the vnet peering |  | Medium | Not verified |  | https://learn.microsoft.com/azure/sap/workloads/rise-integration |  |  |  | 87585797-5551-4d53-bb7d-a94ee415734d
Operational Excellence | &nbsp | Review SAP HANA database backups for Azure VMs. |  | High | Not verified |  | https://learn.microsoft.com/azure/backup/sap-hana-database-about |  |  |  | ff5136bd-dcf1-4d2b-ae52-39333efdf45a
Operational Excellence | &nbsp | Review Site Recovery built-in monitoring, where used for SAP. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/site-recovery/site-recovery-monitor-and-troubleshoot |  |  |  | cafde29d-a0af-4bcd-87c0-0f299d63f0e8
Operational Excellence | &nbsp | Review the Monitoring the SAP HANA System Landscape guidance. |  | High | Not verified |  | https://help.sap.com/docs/SAP_HANA_PLATFORM/c4d7c773af4a4e5dbebb6548d6e2d4f4/e3111d2ebb5710149510cc120646bf3f.html?locale=en-US |  |  |  | 82d7b8de-d3f1-44a0-830b-38e200e82acf
Operational Excellence | &nbsp | Review Oracle Database in Azure Linux VM backup strategies. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/virtual-machines/workloads/oracle/oracle-database-backup-strategies |  |  |  | c823873a-2bec-4c2a-b684-a1ce8ae80efd
Operational Excellence | &nbsp | Review the use of Azure Blob Storage with SQL Server 2016. |  | Medium | Not verified |  | https://learn.microsoft.com/sql/relational-databases/tutorial-use-azure-blob-storage-service-with-sql-server-2016?view=sql-server-ver16 |  |  |  | 2943b6d8-1d31-4e19-ade7-78e6b26d1962
Operational Excellence | &nbsp | Review the use of Automated Backup v2 for Azure VMs. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/azure-sql/virtual-machines/windows/automated-backup?view=azuresql |  |  |  | b82e650f-676d-417d-994d-fc33ca54ec14
Operational Excellence | &nbsp | Enabling Write accelerator for M series when using premium disks(V1) |  | High | Not verified | [5 empty] | 347c2dcc-e6eb-4b04-80c5-628b171aa62d
Performant | &nbsp | Test availability zone latency. |  | Medium | Not verified |  | https://github.com/Azure/SAP-on-Azure-Scripts-and-Utilities/tree/main/AvZone-Latency-Test |  |  |  | b96512cf-996f-4b17-b9b8-6b16db1a2a94
Performant | &nbsp | Activate SAP EarlyWatch Alert for all SAP components. |  | Medium | Not verified |  | https://support.sap.com/en/offerings-programs/support-services/earlywatch-alert.html | https://help.sap.com/docs/SUPPORT_CONTENT/techops/3362700736.html |  |  | 9fd7ffd4-da11-49f6-a374-8d03e94c511d
Performant | &nbsp | Review SAP application server to database server latency using SAP ABAPMeter report /SSA/CAT. |  | Medium | Not verified |  | https://techcommunity.microsoft.com/t5/running-sap-applications-on-the/sap-on-azure-general-update-march-2019/ba-p/377456 | https://me.sap.com/notes/0002879613 |  |  | b9b140cf-413a-483d-aad2-8802c4e3c017
Performant | &nbsp | Review SQL Server performance monitoring using CCMS. |  | Medium | Not verified | [5 empty] | 62fbf0f8-51db-49e1-a961-bb5df7a35f80
Performant | &nbsp | Test network latency between SAP application layer VMs and DBMS VMs (NIPING). |  | Medium | Not verified |  | https://me.sap.com/notes/500235 | https://me.sap.com/notes/1100926/E |  |  | 35709da7-fc7d-4efe-bb20-2e91547b7390
Performant | &nbsp | Review SAP HANA studio alerts. |  | Medium | Not verified |  | https://learn.microsoft.com/en-us/azure/sap/large-instances/hana-monitor-troubleshoot |  |  |  | 9e9bb4c8-e934-4e4b-a13c-6f7c7c38eb43
Performant | &nbsp | Perform SAP HANA health checks using HANA_Configuration_Minichecks. |  | Medium | Not verified |  | https://me.sap.com/notes/1969700 |  |  |  | f1a92ab5-9509-4b57-86ff-b0ade361b694
Security, Governance and Compliance | Governance | If you run Windows and Linux VMs in Azure, on-premises, or in other cloud environments, you can use the Update management center in Azure Automation to manage operating system updates, including security patches. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/sap-lza-security-operations | https://learn.microsoft.com/azure/automation/update-management/overview |  |  | 18dffcf3-248c-4039-a67c-dec8e3a5f804
Security, Governance and Compliance | Governance | Routinely review the SAP security OSS notes because SAP releases highly critical security patches, or hot fixes, that require immediate action to protect your SAP systems. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/sap-lza-security-operations | https://support.sap.com/en/my-support/knowledge-base/security-notes-news.html |  |  | 08951710-79a2-492a-adbc-06d7a401545b
Security, Governance and Compliance | Governance | For SAP on SQL Server, you can disable the SQL Server system administrator account because the SAP systems on SQL Server don't use the account. Ensure that another user with system administrator rights can access the server before disabling the original system administrator account. |  | Low | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/sap-lza-database-security |  |  |  | 1b8b394e-ae64-4a74-8933-357b523ea0a0
Security, Governance and Compliance | Governance | Disable xp_cmdshell. The SQL Server feature xp_cmdshell enables a SQL Server internal operating system command shell. It's a potential risk in security audits. |  | High | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/sap-lza-database-security | https://me.sap.com/notes/3019299/E |  |  | 5a76a033-ced9-4eef-9a43-5e4f96634c8e
Security, Governance and Compliance | Secrets | Encrypting SAP HANA database servers on Azure uses SAP HANA native encryption technology. Additionally, if you are using SQL Server on Azure, use Transparent Data Encryption (TDE) to protect your data and log files and ensure that your backups are also encrypted. |  | High | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-security-governance-and-compliance | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/sap-lza-database-security |  |  | cf65de8e-1309-4ccc-b579-266bcca275fa
Security, Governance and Compliance | Secrets | Azure Storage encryption is enabled for all Azure Resource Manager and classic storage accounts, and can't be disabled. Because your data is encrypted by default, you don't need to modify your code or applications to use Azure Storage encryption. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/storage/common/storage-service-encryption | https://learn.microsoft.com/training/modules/encrypt-sector-data/?source=recommendations |  |  | a1abfe9d-55d0-44c3-a491-9cb1b3d1325a
Security, Governance and Compliance | Secrets | Use Azure Key Vault to store your secrets and credentials |  | High | Not verified |  | https://learn.microsoft.com/azure/key-vault/general/overview | https://learn.microsoft.com/training/modules/manage-secrets-with-azure-key-vault/?source=recommendations |  |  | ce9bd3bb-0cdb-43b5-9eb2-ec14eeaa3592
Security, Governance and Compliance | Secrets | It is recommended to LOCK the Azure Resources post successful deployment to safeguard against unauthorized changes. You can also enforce LOCK constraints and rules on your per-subscription basis using customized Azure policies(Custome role). |  | Medium | Not verified |  | https://learn.microsoft.com/azure/azure-resource-manager/management/lock-resources?tabs=json | https://learn.microsoft.com/training/modules/use-azure-resource-manager/?source=recommendations |  |  | 829e2edb-2173-4676-aff6-691b4935ada4
Security, Governance and Compliance | Secrets | Provision Azure Key Vault with the soft delete and purge policies enabled to allow retention protection for deleted objects. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/key-vault/general/soft-delete-overview | https://learn.microsoft.com/training/modules/manage-secrets-with-azure-key-vault/?source=recommendations |  |  | 2223ece8-1b12-4318-8a54-17415833fb4a
Security, Governance and Compliance | Secrets | Based on existing requirements, regulatory and compliance controls (internal/external) - Determine what Azure Policies and Azure RBAC role are needed |  | High | Not verified |  | https://learn.microsoft.com/azure/role-based-access-control/security-controls-policy | https://learn.microsoft.com/training/paths/describe-azure-management-governance/?source=recommendations |  |  | e3c2df74-3165-4c3a-abe0-5bbe209d490d
Security, Governance and Compliance | Secrets | When enabling Microsoft Defender for Endpoint on SAP environment, recommend excluding data and log files on DBMS servers instead of targeting all servers. Follow your DBMS vendor's recommendations when excluding target files. |  | High | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-security-governance-and-compliance | https://techcommunity.microsoft.com/t5/running-sap-applications-on-the/microsoft-defender-endpoint-mde-for-sap-applications-on-windows/ba-p/3912268 |  |  | a4777842-4d11-4678-9d2f-a56c56ad4840
Security, Governance and Compliance | Secrets | Delegate an SAP admin custom role with just-in-time access of Microsoft Defender for Cloud. |  | High | Not verified |  | https://learn.microsoft.com/azure/defender-for-cloud/just-in-time-access-overview?tabs=defender-for-container-arch-aks | https://learn.microsoft.com/training/modules/secure-vms-with-azure-security-center/?source=recommendations |  |  | 8fe72734-c486-4ba2-a0dc-0591cf65de8e
Security, Governance and Compliance | Secrets | encrypt data in transit by integrating the third-party security product with secure network communications (SNC) for DIAG (SAP GUI), RFC, and SPNEGO for HTTPS |  | Low | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-security-governance-and-compliance | https://learn.microsoft.com/azure/security/fundamentals/encryption-overview#encryption-of-data-in-transit |  |  | 1309cccd-5792-466b-aca2-75faa1abfe9d
Security, Governance and Compliance | Secrets | Default to Microsoft-managed keys for principal encryption functionality and use customer-managed keys when required. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/storage/common/storage-encryption-key-model-get?tabs=portal | https://learn.microsoft.com/training/modules/manage-secrets-with-azure-key-vault/?source=recommendations |  |  | eeaa3592-829e-42ed-a217-3676aff6691b
Security, Governance and Compliance | Secrets | Use an Azure Key Vault per application per environment per region. |  | High | Not verified |  | https://learn.microsoft.com/ja-jp/azure/key-vault/general/best-practices | https://learn.microsoft.com/training/modules/manage-secrets-with-azure-key-vault/?source=recommendations |  |  | 4935ada4-2223-4ece-a1b1-23181a541741
Security, Governance and Compliance | Secrets | To control and manage disk encryption keys and secrets for non-HANA Windows and non-Windows operating systems, use Azure Key Vault. SAP HANA isn't supported with Azure Key Vault, so you must use alternate methods like SAP ABAP or SSH keys. |  | High | Not verified |  | https://learn.microsoft.com/azure/key-vault/certificates/certificate-scenarios | https://learn.microsoft.com/training/modules/configure-and-manage-azure-key-vault/?source=recommendations |  |  | abc9634d-c44d-41e9-a530-e8444e16aa3c
Security, Governance and Compliance | Secrets | &nbsp |  | Medium | Not verified |  | https://learn.microsoft.com/azure/key-vault/general/best-practices |  |  |  | 5833fb4a-e3c2-4df7-9316-5c3acbe05bbe
Security, Governance and Compliance | Security | Customize role-based access control (RBAC) roles for SAP on Azure spoke subscriptions to avoid accidental network-related changes |  | High | Not verified |  | https://learn.microsoft.com/azure/role-based-access-control/built-in-roles | https://learn.microsoft.com/training/modules/secure-azure-resources-with-rbac/?source=recommendations |  |  | 209d490d-a477-4784-84d1-16785d2fa56c
Security, Governance and Compliance | Security | Isolate DMZs and NVAs from the rest of the SAP estate, configure Azure Private Link, and securely manage and control the SAP on Azure resources |  | High | Not verified |  | https://blogs.sap.com/2019/07/21/sap-security-operations-on-azure/ | https://learn.microsoft.com/azure/architecture/reference-architectures/dmz/secure-vnet-dmz?tabs=portal |  |  | 56ad4840-8fe7-4273-9c48-6ba280dc0591
Security, Governance and Compliance | Security | Consider using Microsoft anti-malware software on Azure to protect your virtual machines from malicious files, adware, and other threats. |  | Low | Not verified |  | https://learn.microsoft.com/en-us/training/modules/secure-vms-with-azure-security-center/?source=recommendations | https://azure.microsoft.com/blog/deploying-antimalware-solutions-on-azure-virtual-machines/ |  |  | e124ba34-df68-45ed-bce9-bd3bb0cdb3b5
Security, Governance and Compliance | Security | For even more powerful protection, consider using Microsoft Defender for Endpoint. |  | Low | Not verified |  | https://learn.microsoft.com/microsoft-365/security/defender-endpoint/microsoft-defender-endpoint?view=o365-worldwide | https://learn.microsoft.com/training/modules/implement-endpoint-protection-use-microsoft-defender/?source=recommendations |  |  | 5eb2ec14-eeaa-4359-8829-e2edb2173676
Security, Governance and Compliance | Security | Isolate the SAP application and database servers from the internet or from the on-premises network by passing all traffic through the hub virtual network, which is connected to the spoke network by virtual network peering. The peered virtual networks guarantee that the SAP on Azure solution is isolated from the public internet. |  | High | Not verified |  | https://learn.microsoft.com/azure/architecture/guide/sap/sap-whole-landscape | https://learn.microsoft.com/training/modules/explore-azure-networking/?source=recommendations |  |  | 87a924c4-25c2-419f-a2f0-96c7c4fe4525
Security, Governance and Compliance | Security | For internet-facing applications like SAP Fiori, make sure to distribute load per application requirements while maintaining security levels. For Layer 7 security, you can use a third-party Web Application Firewall (WAF) available in the Azure Marketplace. |  | Low | Not verified |  | https://learn.microsoft.com/azure/cloud-adoption-framework/scenarios/sap/eslz-security-governance-and-compliance | https://learn.microsoft.com/training/modules/simplify-cloud-procurement-governance-azure-marketplace/?source=recommendations |  |  | 491ca1c4-3d40-42c0-9d85-b8933999590b
Security, Governance and Compliance | Security | To enable secure communication in Azure Monitor for SAP solutions, you can choose to use either a root certificate or a server certificate. We highly recommend that you use root certificates. |  | Medium | Not verified |  | https://learn.microsoft.com/azure/sap/monitor/enable-tls-azure-monitor-sap-solutions | https://learn.microsoft.com/training/modules/implement-azure-monitoring-sap-workloads-azure-virtual-machines/?source=recommendations |  |  | 9fc945b9-0527-47af-8200-9d652fe02fcc

## Values
Severity | Status | Category | Reference checklist base URL | Default title | Technologies | Languages | Status descriptions | Technology file prefix | Language file suffix
High | Not verified | Identity and Access | https://raw.githubusercontent.com/Azure/review-checklists/main/checklists/ | Use the "Import latest checklist" button to get the latest version of a review checklist |  |  |  |  | en
Medium | Open | Network Topology and Connectivity | [6 empty] | ja
Low | Fulfilled | Security, Governance and Compliance | [6 empty] | ko
| N/A | Management and Monitoring | [6 empty] | pt
| N/A | Management Group and Subscriptions |  |  |  |  | Not applicable for current design |  | es